## FLAT SHEET
| FLAT SHEET |  | Page 1 of 10
TEST REQUEST WORKBOOK
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
This Workbook covers Blue Heaven Technologies FLAT SHEET Testing:
□ Flat Sheet Efficiency. Performed to: |  |  | * Red Asterisk = Included on Scope of Accreditation to ISO 17025
* ASHRAE 52.2
* EN 779: 2002 or EN 779: 2012
* Indicate Dust Holding if Required.
□ Flat Sheet Efficiency. Performed to:
* ISO 16890-2 or ISO 16890-4
* Indicate Dust Holding if Required.
□ Flat Sheet Initial High Efficiency based on EN 1822 [European]
* Performed to EN 1822-01 [One Particle Size]
* Performed to EN 1822-01 [Full Scan]
[With MPPS Determination]
□ Flat Sheet Initial Efficiency based on ISO 29463
* Performed to ISO 29463 [One Particle Size]
* Performed to ISO 29463 [Full Scan]
[With MPPS Determination]
□ *Appendix J Conditioning for Flat Sheet Media
[Indicate in Special Instructions if Required.]
□ *Flat Sheet Resistance Traverse [FSRT]
□ *Mullen Burst Test
□ *Frazier Air Permeability Test
Select the tab below for the appropriate test.
Fill out all information applicable to your test request.
Enclose test request with your filter/sample when sending to Blue Heaven Technologies.
You can also email the test request form to Bobby Singer: bobby@blueheaventech.com
If questions, contact Blue Heaven Technologies Specialty Lab Manager:
Glen Toloczko
Office: 502-357-0132
Cell: 502-552-4565
glen@blueheaventech.com
Blue Heaven Technologies Decision Rule:
Regardless Of Uncertainty, Blue Heaven Technologies Will Report A Statement of Compliance Based on Actual Readings of Device(s) Under Test Compared To The Standard Being Used.

## ASHRAE 52.2
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
Flat Sheet Initial Efficiency
|  |  | ASHRAE 52.2 |  |  | IF SPECIAL INSTRUCTIONS
PLEASE PUT IN REMARKS AREA.
Flat Sheet Dust Holding
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
at certain levels can pose serious health risks.
[Please Note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## EN779_2002
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
Flat Sheet Initial Efficiency
|  |  | EN 779:2002 |  |  | IF SPECIAL INSTRUCTIONS
PLEASE PUT IN REMARKS AREA.
Flat Sheet Dust Holding
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
at certain levels can pose serious health risks.
__________ |  | [Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## EN779_2012
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
Flat Sheet Initial Efficiency
|  |  | EN 779:2012 |  |  | IF SPECIAL INSTRUCTIONS
PLEASE PUT IN REMARKS AREA.
Flat Sheet Dust Holding
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
at certain levels can pose serious health risks.
__________ |  | [Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## ISO 16890
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
|  |  | Flat Sheet Initial Efficiency |  |  | Flat Sheet Initial Efficiency
|  |  | ISO 16890-2 |  |  | ISO 16890-4
IF SPECIAL INSTRUCTIONS
PLEASE PUT IN REMARKS AREA. |  |  | Flat Sheet Dust Holding |  |  | Flat Sheet
Dust Holding
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
at certain levels can pose serious health risks.
__________ |  | [Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## EN 1822
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET - EUROPEAN
|  |  | Flat Sheet Initial High Efficiency |  |  | Flat Sheet Initial High Efficiency
IF SPECIAL INSTRUCTIONS |  |  | EN 1822-01 |  |  | EN 1822-01
PLEASE PUT IN REMARKS AREA. |  |  | One Particle Size |  |  | W/MPPS Determination
|  |  | [ISO 29463-03] |  |  | [ISO 29463-03]
|  |  | Flat Sheet Dust Holding |  |  | Flat Sheet
Dust Holding
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
at certain levels can pose serious health risks.
__________ |  | [Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## ISO 29463
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
|  |  | Flat Sheet Initial High Efficiency |  |  | Flat Sheet Initial High Efficiency
IF SPECIAL INSTRUCTIONS |  |  | ISO 29463-01 |  |  | ISO 29463-01
PLEASE PUT IN REMARKS AREA. |  |  | One Particle Size |  |  | W/MPPS Determination
|  |  | [ISO 29463-03] |  |  | [ISO 29463-3]
|  |  | Flat Sheet Dust Holding |  |  | Flat Sheet
Dust Holding
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
at certain levels can pose serious health risks.
__________ |  | [Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## FSRT
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
|  |  | Flat Sheet Resistance Traverse |  |  | IF SPECIAL INSTRUCTIONS
|  |  | FSRT |  |  | PLEASE PUT IN REMARKS AREA.
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
|  |  | Test Air Flow Rate (CFM) |  |  | N/A
Test Requirements |  |  | Final Resistance (In. W.G.) |  |  | N/A
|  | Must be completed | Test Dust Required |  |  | N/A
|  | for testing to begin | Dust Feed Rate (gms / MCF) |  |  | N/A
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## Mullen
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
|  |  | MULLEN BURST TEST |  |  | IF SPECIAL INSTRUCTIONS
PLEASE PUT IN REMARKS AREA.
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
|  |  | Test Air Flow Rate (CFM) |  |  | N/A
Test Requirements |  |  | Final Resistance (In. W.G.) |  |  | N/A
|  | Must be completed | Test Dust Required |  |  | N/A
|  | for testing to begin | Dust Feed Rate (gms / MCF) |  |  | N/A
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## Frazier Perm
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: FLAT SHEET
|  |  | FRAZIER PERMEABILITY TEST |  |  | IF SPECIAL INSTRUCTIONS
PLEASE PUT IN REMARKS AREA.
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blule Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required |  |  | N/A
|  | for testing to begin | Dust Feed Rate (gms / MCF) |  |  | N/A
Return Filter *
Special Instructions |  | Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 60 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299