## HVAC & Industrial
| HVAC & INDUSTRIAL |  |  | Page 1 of 13
TEST REQUEST WORKBOOK
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
This Workbook covers Blue Heaven Technologies HVAC & INDUSTRIAL Testing:
* ASHRAE 52.2
| * Breach Testing |  | * Red Asterisk = Included on Scope of Accreditation to ISO 17025.
* EN 779
* ISO 16890
* Railroad
□ * AAR Flammability
* High Temperature
* Pulse Clean
□ *Aramco
□ *200 Hour
□ *ASHRAE 199
□ *Single Filter Pulse Screening [One-Up]
* ISO 5011 [Industrial Filters]
* Paint Overspray
□ Paint Arrestance
□ * NESHAP 319
* ISO 29461
* Migration
* AHRI 680
Select the tab below for the appropriate test.
Fill out all information applicable to your test request.
Enclose the test request with your filter(s) when sending to Blue Heaven Technologies.
You can also email the test request form to Bobby Singer: bobby@blueheaventech.com
If questions, contact Blue Heaven Technologies HVAC Lab Manager:
Bobby Singer
Office: 502-357-0132
Cell: 502-773-1858
bobby@blueheaventech.com
Blue Heaven Technologies Decision Rule:
Regardless Of Uncertainty, Blue Heaven Technologies Will Report A Statement Of Compliance Based On Actual Readings Of Device(S) Under Test Compared To The Standard Being Used.

## ASHRAE 52.2
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
ASHRAE 52.2-2017 FULL |  |  | RESISTANCE TRAVERSE [RT] |  |  | AVERAGE ARRESTANCE
FULL TEST | [5 empty] | & DUST HOLDING
|  |  | INITIAL EFFICIENCY AND |  |  | [RT-DHC]
RESISTANCE TRAVERSE [RT-IE]
ASHRAE 52.2-2017 | [5 empty] | INITIAL EFFICIENCY,
MERV A |  |  | PRE AND POST DISCHARGE |  |  | AVG. ARRESTANCE &
APPENDIX J - CONDITIONED FULL TEST |  |  | EFFICIENCY [RT-IE MERV A] |  |  | DUST HOLDING [RT-IE-DHC]
[Appendix J Conditioning]
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate [gms / MCF] [if not standard]
Return Filter *
Special Instructions |  | Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## BREACH
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
DRY BREACH [DB] |  |  | WET BREACH [WB] |  |  | 72 HOUR
WET BREACH
NOTE: FOR CUSTOM
TESTING, DESCRIBE IN REMARKS
BELOW.
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [If Not Per Standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [If Not Per Standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## EN 779
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
EN 779:2002- Full Test |  |  | EN 779:2012- Full Test
Initial Only [IE-RT] |  |  | Initial Only [IE-RT]
Dust Load Only [DHC] |  |  | Dust Load Only [DHC]
for "G: rated filters |  |  | for "G: rated filters
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## ISO 16890
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
ISO 16890:2016 - Full |  |  | ISO 16890-3 (Dust Holding)
ISO 16890 - 2 (Initial Eff.) |  |  | ISO 16890-4 (Discharged Eff.)
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## Railroad
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
RAILROAD ENGINE TESTING |  |  | AAR FLAMMABILITY
AAR 807-APPENDIX 7A |  |  | PER RP 559
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## Hi Temp
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
|  |  | HI TEMPERATURE |  |  | DESCRIBE PROTOCOL IN
|  |  | [HIGH SERVICE TEMPERATURE |  |  | REMARKS SECTION BELOW.
RESISTANCE]
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [If not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [If not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## Pulse Clean
| To avoid delays, fill out request form completely and enclose with filter. | [8 empty] | Page 1 of 1
|  |  |  | Purchase Order # |  |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
PULSE CLEAN
SAUDI ARAMCO |  |  | 200 HOUR |  |  | ASHRAE 199 |  |  | SINGLE
SYSTEM TESTING |  |  | DUST REJECTION TEST |  |  | SYSTEM TESTING |  |  | FILTER PULSE
SCREENING [ONE-UP]
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  |  | YES |  |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  |  | Final Resistance (In. W.G.)
|  | Must be completed |  | Test Dust Required
|  | for testing to begin |  | Dust Feed Rate (gms / MCF)
Microscopic Evaluation
|  | ASHRAE 199 / ARAMCO | Initial Loading Pressure | [6 empty] | In. W.G.
|  |  | HI / LO Pulse Settings |  |  |  | In. W.G. |  |  | In. W.G.
Special Instructions |  |  | Pulse On/Off / PSI settings |  |  |  | ms / |  | sec / | PSI
|  |  | Not to Exceed Pressure | [6 empty] | In. W.G.
Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor | [6 empty] | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  |  | 2820 South English Station Road
Louisville, KY 40299

## ISO 5011
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
ISO 5011 7.0
INDUSTRIAL INTAKE
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Amount
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [If not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF)[If not standard]
Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## Paint OverSpray
|  | To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
PAINT OVERSPRAY
| PAINT ARRESTANCE |  |  |  | NESHAP 319
PLEASE INITIAL HERE: |  |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  |  | Tackifier? |  | YES |  | NO
Tackifier Amount
Test Air Flow Rate (CFM)
Test Requirements |  |  |  | Final Resistance (In. W.G.)
|  |  | Must be completed | Paint Type Required
|  |  | for testing to begin | Paint Feed Rate (gms / min.)
Special Instructions |  |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  |  | Test Requestor |  |  |  |  | Date Requested
Requestor |  |  | Company Name
Information |  |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? |  | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  |  | 2820 South English Station Road
Louisville, KY 40299

## ISO 29463
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
ISO 29461-1
Air Intake Systems for Rotary Machinery
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## Migration
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
MIGRATION
DIFFUSION MEDIA PARTICLE
MIGRATION TEST
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299

## AHRI 680
| To avoid delays, fill out request form completely and enclose with filter. | [6 empty] | Page 1 of 1
|  |  | Purchase Order # |  | Quote # |  | TEST NO.
Laboratory Test Request
2820 S. English Station Road - Louisville, KY 40299
www.blueheaventech.com
TEST TYPE: HVAC / INDUSTRIAL
AHRI 680 [I-P] 2009
PLEASE INITIAL HERE: |  | I hereby certify that the filters/samples submitted for testing do not contain harmful levels
of contaminants such as heavy metals, microbes, pesticides or other contaminants which
__________ |  | at certain levels can pose serious health risks.
[Please note: Blue Heaven's Decision Rule Applies to this testing.]
Manufacturer
Filter Model
Part Number
Filter Type
Filter Description |  | Filter Date Code
Nominal Filter Dimensions
Pocket / Pleat Quantity
Media Type
Estimated Gross Media Area
|  | Tackifier? |  | YES |  | NO
Tackifier Type
Test Air Flow Rate (CFM)
Test Requirements |  |  | Final Resistance (In. W.G.)
|  | Must be completed | Test Dust Required [if not standard]
|  | for testing to begin | Dust Feed Rate (gms / MCF) [if not standard]
Special Instructions |  | Return Filter *
Dispose of filter after testing*
*If disposition instructions are not given, product will be disposed of:
after 30 days.
Remarks
|  | Test Requestor |  |  |  |  | Date Requested
Requestor |  | Company Name
Information |  | Company Address
Email
Phone Number
A/Payable Contact
Questions ??? | If you have any questions about testing options, contact Blue Heaven Technologies. | If you have any questions about testing options, contact Blue Heaven Technologies.
502-357-0132
SHIP FILTERS OR |  |  | Blue Heaven Technologies
SAMPLES TO THE |  |  | Test Lab (Bobby Singer)
ATTENTION OF: |  |  | 2820 South English Station Road
Louisville, KY 40299